Standard Operating Procedure

SOP Ref No. SOP-CTR/Niakan/006

Version: 1

SOP title: Whole-embryo pre-implantation embryo immunofluorescence staining

Project supervisor Kathy Niakan

Author Claudia Gerri. Adapted by Esther Rosales Sanchez

Please acknowledge our work if you use or adapt these protocols in your research.

Purpose

The aim of this SOP is to provide a standardized protocol for the fixation and immunofluorescent staining of embryos. Paraformaldehyde fixation is widely used to preserve embryo morphology and protein localization. Correct preparation and handling of PFA are critical to maintain sample quality and antigenicity. Following fixation, permeabilization and antibody staining allow visualization of proteins of interest.

Materials and equipment

| PPE | Consumables | Equipment |
| --- | --- | --- |
| - Gloves. - Lab coat. | - Paraformaldehyde powder, Cat. 158127-500G Sigma-Aldrich or 16% Paraformaldehyde solution methanol-free, Cat. 0219998320 Thermo Scientific. - 1X Phosphate Buffered Saline (PBS) with Ca2+, Mg2+, Cat. 14040-091 Gibco. - 1X Phosphate Buffered Saline (PBS) without Ca2+, Mg2+, Cat. 14190-094 Gibco. - Glutaraldehyde 70%, Cat. G7776 Sigma-Aldrich. - NaOH - HCl - Tween 20, Cat. P9416 Sigma-Aldrich. - Triton X-100, Cat. X100 Sigma-Aldrich. - Bovine Serum Albumin (BSA), Cat. A3803 Sigma-Aldrich. - Vectashield with DAPI, Cat. H-1200 Vector Laboratories. - Nunc™ 4-Well Dishes for IVF, Cat. 144444 Thermo Scientific. | - Shaker in G4. - Fume hood in E28. |

Procedure

FIXATION

Solutions:

- 4% paraformaldehyde (PFA) from liquid or from powder.

- 1X PBS without Ca2+, Mg2+ + 0.1% Tween 20

Preparation of PFA from Liquid

These steps must be done in the fume hood wearing gloves and lab coat.

- Dilute 16% PFA aqueous solution in 1X PBS with Ca2+, Mg2+ to 4% PFA.

- Use straight away on embryos at room temperature.

- Store unused 4% PFA at 4°C for up to 1 week without changing temperature (do not freeze).

Preparation of PFA from Powder

These steps must be done in the fume hood wearing gloves and lab coat. For this buffer we will need: 25 mL sterile 1X PBS with Ca2+, Mg2+; 1g powder paraformaldehyde, 4.5 μl NaOH (10N) and 1.5 μl of HCL (10N).

- Use glass ‘media bottles’ and place the cap on without tightening the cap too much.

- Drop in a clean stirring rod.

- Heat with stirring rod to 65-70°C (do not pass 70°C as it will change the molecular composition of the fixative).

- Check that the pH is 7.0 using pH strips.

- Filter through a 0.2 μ filter.

- Store at 4°C for up to 1 week without changing temperature (do not freeze).

Method

Use gloves and lab coat to follow these steps. Steps 1-4 must be done in the fume hood.

- Wash embryos three times in 4% paraformaldehyde (PFA) in a 4-well dish (make this solution fresh every time).

- Place embryo in a 500 μl solution of 4% PFA in a 4-well dish.

- Incubate embryos in 4% PFA for 20 mins at room temperature (RT) on a rotating shaker. Important to do short fixation at RT for the staining of polarity/cytoskeletal proteins!

- Remove embryos and wash quickly three times in 1X PBS + 0.1% Tween.

- Place in a 500 μl solution of 1X PBS + 0.1% Tween in a 4-well dish.

- At this point, the embryos can either be kept in 1X PBS + 0.1% Tween overnight at 4°C or used for staining.

Please collect the solid hazardous waste (PFA or glutaraldehyde) in a plastic bag/ empty plastic container. Labelled with PFA/glutaraldehyde waste (do not mix waste), your name and date. When the container is full place it in the white tray under the hood in room G3. Collect the hazardous liquid waste (PFA or glutaraldehyde)  in an existing container in the cabinet under the hood in room G3 that already contains the same type of waste you need to dispose of. If no existing bottle is available, take an empty container (you may find them under the hood in room G3), label the bottle with the type of waste (PFA/glutaraldehyde, do not mix waste) and after you dispose your waste leave the bottle in the cabinet under the hood in room G3.

STAINING

Solutions:

- 1X PBS without Ca2+, Mg2+ + 0.2% Triton X-100.

- 1X PBS without Ca2+, Mg2+ + 0.5% Triton X-100.

- Blocking solution: 3% BSA in 1X PBS without Ca2+, Mg2+ + 0.2% Triton X-100 (blocking solution must be filtered through 0.2 μ filter).

- 1X PBS without Ca2+, Mg2+ + 0.1% Tween 20.

- Permeabilization step: incubate in 1X PBS + 0.5% Triton for 20 mins on a rotating shaker at RT.

- Change solution and incubate in blocking solution for 2 hours on a rotating shaker at RT.

- Change solution and incubate in primary antibody diluted in blocking solution overnight at 4°C on rotating shaker.

- Change solution and wash in 1X PBS + 0.2% Triton quickly three times.

- Incubate in 1X PBS + 0.2% Triton for 20 mins on a rotating shaker at RT.

- Change solution and incubate in secondary antibody for 1 hour on a rotating shaker at RT (Secondary antibody is diluted 1:300 in blocking solution).

- Change solution and wash in 1X PBS + 0.2% Triton quickly three times.

- Incubate in 1X PBS + 0.2% Triton for 20 mins on a rotating shaker at RT.

- Remove solution and add Vectashield solution with DAPI (diluted 1:30 in 1X PBS + 0.1% Tween) (embryos can stay in the solution at 4°C for a very long time before you image them).

RESTAIN

In order to get as many information as possible from each embryo, when possible, we restain the embryos with a second set of antibodies. For example:

- YAP1 is detected in the nucleus and aPKC is detected at the apical membrane. They are both mouse antibodies. We first perform an IF for YAP1 (detected with Alexa-647) and image the embryo. Then, we repeat the staining for aPKC (detected with Alexa-647) and image the embryo.

After the first IF and imaging, we usually wash the embryos in 1X PBS + 0.2% Triton for 10 mins for three times on a rotating shaker at RT, then we proceed with point 7 of the staining protocol (permeabilization step).